# APPLICATION FOR PRODUCT APPROVAL

# PLASTIC LEACH DRAIN SEGMENTS

Please attach this application form to your submission and post to (or alternatively email to WWApps@health.wa.gov.au):

The Manager

Water Unit

Environmental Health Directorate

Department of Health

PO Box 8172

Perth Business Centre WA 6849

APPLICATION DETAILS

NAME OF LEACH DRAIN SYSTEM FOR APPROVAL: 

_______________________________________________________________________________________

DESCRIPTION OF SYSTEM:

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

NOMINATED BRAND TO BE PLACED ON DRAINS:

_______________________________________________________________________________________

APPLICANT DETAILS

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

MANUFACTURER'S DETAILS

(if different from the applicant)

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

DISTRIBUTOR'S DETAILS

(if different from the applicant and/or manufacturer)

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

APPLICATION REQUIREMENTS

IMPORTANT: PLEASE ATTACH THE FOLLOWING INFORMATION:

- Your application must demonstrate that your product complies fully with clause 1-6 of the Department of Health (DOH) “Guidelines for Plastic Leach Drain Segments” (Attached). Please note that where a product does not comply with a particular requirement of the Guidelines, the deviation must be acknowledged and addressed.

Please fill in the following declaration after reading the "Application Requirements" section above.

DECLARATION BY APPLICANT / MANUFACTURER

I supply the following details with my application (Tick as included);

- Completed “Guidelines for Plastic Leach Drain Segments” check list.

- Two (2) sets of scaled minimum of A4 size engineering drawings of leach drain.

- Engineering report/testing report on structural integrity/minimum load bearing capacity of leach drain.

- Installation and assembly Instructions, site installation instructions/guidelines.

- Specification/sample of geotextile material used with leach drain segment. (If required)

- Additional Information (where appropriate).

I understand that the DOH may require further details if necessary, and that failure to supply all the details referred to in this application form and any additional information requested by the DOH concerning my application above may result in delays in processing the application.

NAME: _________________________________________________________________________________

COMPANY: _____________________________________________________________________________

ADDRESS: ______________________________________________________________________________

_______________________________________________________________________________________

SIGNATURE: _________________________________________________ DATE: _____________________

## More Information:

Water Unit
Environmental Health Directorate
Department of Health
PO Box 8172
PERTH BUSINESS CENTRE WA 6849

Telephone: 08 9222 2000

Printed on: 30 July 2026

/tmp/in/input.doc

Produced by Environmental Health Directorate
© Department of Health, Western Australia 2026

# GUIDELINES FOR PLASTIC LEACH DRAIN SEGMENTS

- Engineering Certificate by a structural engineer covering:

  - Open surface area for the efficient disposal of effluent from the leach drain walls is a minimum of 10% of the surface area below the invert level of the inlet pipe.

  - Engineering report and/or calculations for the structural soundness of the leach drain showing the drain is able to support a minimum load of 7kPa and can maintain structural integrity under all conditions of installation and use.

  - Durable and able to maintain its integrity under all conditions of intended installation and use. This can be demonstrated by the provision of appropriate materials data sheets quoting the plastic’s physical and chemical properties. Serviceable life of a leach drain and associated fittings is a minimum of 15 years provided the leach drains are used and installed in accordance with the manufacturer’s recommendations.

- Scaled Engineering Drawing:

  - Plan-views and cross-sectional views of the leach drain as a whole and for each of its components, including end plates. Include all dimensions and details such as internal width, effective depth, wall thickness, entry point of effluent, location of inspection openings, sole plates, end plates etc.

  - End Covers constructed to the same standard as the segments is provided to the end parts of each installation.

  - Each length of leach drain must be provided with two inspection openings 150 mm in diameter (one at the start and one at the end of the length of drain).

  - Segments shall have an effective depth and internal width of a minimum of 400 mm. A standard leach drain as defined by regulation 49(2) of the Health (Treatment of Sewage and Disposal of Effluent and Liquid Waste) Regulations 1974 has an infiltrative area of 1.6m2 per metre of length.  Drains constructed of segments with a smaller infiltrative area shall be required to be of greater length than specified in regulation 49(2).

  - Thickness of segment walls is a minimum of 50 mm.

  - Sole plates (100 mm x 50 mm) to be incorporated to bottom of drains to prevent subsidence. Where sole plates are not present, it must be demonstrated that drains will resist subsidence under all conditions of intended installation and use.

  - A splash plate is placed in the drain bed below the inlet pipe to prevent scouring of the bed.

- Angle of seepage holes to be positioned as to effectively exclude entry of backfill around sides of drain segments.  Alternatively, drain segments must be surrounded to a level above the seepage holes by a 300 mm thickness of durable aggregate which meets the grading requirements specified in Australian Standard 2758.1 (Aggregate and Rock for Engineering Purposes) for single size coarse aggregate for nominal sizes from 20 mm to 40 mm; or drain segments must be wrapped in a geotextile material which complies with the specifications set out hereunder:

  - Have a flow rate of not less than 110 L/m2/sec.

  - Have a C.B.R. (California Bearing Ratio) burst strength of not less than 1500 Newtons.

  - Have a Wide Width Tensile Strength of not less than 24 kN/m.

- Joints between segments should be rebated, or other means used to prevent ingress of backfill.

- Each segment shall be branded with the manufacturers registered brand name.

- A set of installation instructions must be provided (including illustrations) which clearly show how to install the leach drains. The instructions should include detail of drain assembly (if required) and site installation.